| Penarth Athletic Club Fire Safety Management Plan |  |
| --- | --- |

| 1. OBJECTIVES | Detail |
| --- | --- |
| The objectives of this management plan are: | To ensure that staff, and patrons at PAC are safeguarded from injury or death in the event of fire, |
|  | To have arrangements in place for systems and procedures to minimise the risk of fires starting and fire spreading, |
|  | To reduce the potential for fire to disrupt the PAC operations, damage premises or harm the environment, |
|  | To ensure that PAC comply with relevant fire legislation and standards, including ‘The Regulatory Reform (Fire Safety) Order 2005’. |

| 2. RESPONSIBILITIES | Detail |
| --- | --- |
| Chairman/ General Committee | Responsible for ensuring that PAC complies with all statutory fire safety requirements & adherence to the plan. |
| Facilities Group | Responsible for ensuring that Fire Risk Assessments are completed / reviewed (as outlined in this management plan) |
|  | Responsible for ensuring prompt attention is taken to all fire safety issues and that investigation is conducted and reported in conjunction with the committee. |
|  | Responsible for ensuring that all maintenance / servicing / inspection (relating to fire safety) is undertaken where necessary and records maintained for compliance (see section 4). |
| PAC Manager/Bar Management Commitee | Responsible for ensuring that clear means of access for emergency services are provided at all PAC locations in the event of fire. |
|  | Responsible for fire alarm activation investigation during normal working hours at PAC. |
|  | Responsible for providing/arranging fire safety information to staff, and visitors. |
|  | Responsible for taking the necessary action against any member of staff or patron whose actions compromise fire safety. |
|  | Responsible for ensuring that ‘Safety Checks’ take place as necessary (see section 4) and that all issues of fire safety are reported to the Facilities Group. |
|  | Responsible for ensuring that ‘Evacuation route checks’ take place as necessary (see section 4) and that all issues identified within evacuation routes are reported. |
|  | Responsible for producing Personal Emergency Evacuation Plans (PEEPs) for staff with a disability that may affect their ability to evacuate a building in the event of an emergency or their ability to acknowledge an alarm signal. |
|  | Responsible for ensuring prompt attention is taken to all fire safety issues and that any investigations are conducted and reported as necessary. |
| Fire Wardens | Responsible (upon activation of an alarm), for checking all rooms in their designated area(s) and noting any missing people or areas not searched for passing to Fire Service Officers if necessary. |
| All staff, & visitors | Responsible to ensure that their actions do not put themselves or others at risk, to follow instructions and to report any faults or shortcomings in fire safety arrangements. Everyone has a duty not to damage or deliberately misuse any equipment provided for fire safety. |

| 3. INFORMATION | Format | Audience | Detail |
| --- | --- | --- | --- |
| Fire safety information | In Person | Staff | All staff must complete mandatory induction which covers various elements of fire safety information. Any new starter this is to be before their first shift. |
| Fire Assembly Points | Poster | Staff / Visitors | Placed in every kitchen & and noted on all fire action plan signs. |
| Disciplinary Procedure | Document | Students | Deliberate offences compromising Fire Safety are dealt with using the PAC Disciplinary procedure. |
| Fire Action Notices | Fixed signage | Staff / Visitors | Installed next to every Manual Call Point. Checked regularly during ‘Compliance Safety Checks.’ |
| Emergency Escape / Directional Signage | Fixed signage | Staff / Visitors | Installed to BS5499 standards. Checked regularly during ‘Compliance Safety Checks.’ |
| 4. PROCEDURES / COMPLIANCE |  | DETAIL |  |
| Fire Alarm Activation |  | Generally, during normal working hours, PAC Teams will investigate and call fire service if necessary. Outside of these hours the responsibility changes to nominated key holder. |  |
| Fire Related Accident / Incident Reporting and Investigation |  | Following an actual incident of fire (involving smoke, heat and flames requiring extinguishing) an “Accident / Incident Form” (IRF) should be completed and filed accordingly and fully investigated by the PAC manager. |  |
| Fire Risk Assessment |  | Fire Risk Assessments undertaken on PAC Long Room Oct 2024 Main Bar Jun 2025 |  |
|  |  | Action Plan produced and 'Recommended Actions' in passed to Facilities Group to action. |  |
|  |  | Further Fire Risk Assessment to be reviewed by a competent contractor every year and to PAS79-1 standard. |  |
| Fire Risk Assessment Review |  | Fire Risk Assessments are reviewed for any of the following reasons: |  |
|  |  | a. An incident involving Fire, |  |
|  |  | b. Replacement / amendment to a Fire Alarm System, |  |
|  |  | c. Refurbishment, |  |
|  |  | d. Significant Fire Safety issues highlighted during ‘Compliance Safety Checks.’ |  |
| Fire Risk Assessment – Annual Review |  | Report produced annually (during September / October) by PAC Manager/Facilities Group giving an overview of any Fire Risk Assessments reviewed over the 12-month period (September to August). |  |
|  |  | Reviews signed off by the general committee. |  |
| Compliance Safety Checks |  | Compliance Safety Checks are competed in all areas and include Fire Safety related checks. |  |
|  |  | Checklist and guidance notes available on PAC Teams Site. |  |
| Fire Evacuation |  | Annual fire evacuations of all locations undertaken by PAC Manager. |  |
|  |  | Details / results recorded in Fire logbooks. |  |
| Emergency Light Testing |  | 100% system test (annual) and 50% system Tests (after 6 months) are carried out by a contractor - Voltage. PAC General Committee have tasked the facilities group to undertake Emergency lighting monthly tests |  |
|  |  | Records held within the PAC Teams Safety channel and sent to VOG when requested or auditable at any fire safety visit. |  |
| Fire Alarm Testing |  | This is carried out by a nominated contractor & records held within the PAC Teams Safety channel and sent to VOG when requested or auditable at any fire safety visit. |  |
| Fire Logbooks |  | Fire Logbooks record results for Manual Call Point Testing, Fire Evacuations, Fire Alarm Testing and Emergency Light Testing. |  |
| Fire Door Inspection |  | Final exit door visually inspected as part of the monthly ’Compliance Safety Checks” routinely conducted by facilities group. |  |
| Fixed Electrical Testing |  | Inspections are carried out annually by a nominated contractor and records help on PAC team’s site. Records sent to VOG for compliance to licence/lease. |  |
| Domestic Gas Maintenance / Servicing |  | Annual Gas Safety Inspection and conducted by nominated contractor and records held on PAC teams site. |  |
| 4. PROCEDURES / COMPLIANCE (CONT’D) |  | DETAIL |  |
| Smoking |  | Smoking is only permitted at dedicated external smoking areas at PAC sites at least 10 metres away from any building/window. |  |
| Building Work (Planned Maintenance) |  | All building work (planned maintenance) is managed by PAC Manager/Facilities Group. This includes all ‘hot works.’ |  |
| Personal Emergency Evacuation Plans (PEEPs) |  | Any member of staff who disclose a disability (of a type that may impact their ability to react to a fire alarm activation) will meet with one of the PAC Manager (to agree a PEEP) |  |
| Evacuation Route and Doors |  | All sites evacuation routes and doors along that route have been identified and are visually inspected during Compliance Safety checks. |  |

| 5. TRAINING | AUDIENCE | DETAIL |
| --- | --- | --- |
| ‘Introduction to PAC’ via Mandatory E-induction | All Staff/volunteers | Includes elements of Fire Safety. Available on line and record taken of viewing. |
| Fire Warden Training | Staff Fire Wardens | Training provided as and when required. Details / Records available via PAC Teams |
| Health & Safety Training | All staff | Includes elements of Fire Safety. Form's part of Induction training for new starters. Details / Records available via PAC TEAMS |
| Health & Safety Refresher | All staff | Includes elements of Fire Safety. Run every two years for all staff. Details / Records available via PAC TEAMS |

| 6. ADVICE / CONSULTATION | DETAIL |
| --- | --- |
| PAC General Committee | Consultation with / advice from members of the PAC General Committee Chairman – Gareth Hubback |
| PAC Facilities Group | Consultation with / advice from members of the PAC Facilities Group Lead – David Carter |
| External Contractors | Consultation with / advice from members of the nominated contractors, Voltage, Sonic Alarms |
| Vale Of Glamorgan Compliance Team | Consultation with / advice from Vale of Glamorgan Compliance team. |
| Fire Safety Order 2005 | All policies are written and adhered to as per the fire Safety Order 2005 – Copy of order in PAC Teams site for referring to during any decision making. |